## Engineering Checklist
SCHEDULE M — GMP COMPLIANCE CHECKLIST ¦ ENGINEERING
Facilities & Civil · HVAC & Cleanrooms · Utilities · Preventive Maintenance · Calibration · Equipment Qualification · Change Control · EHS ¦ Schedule M Parts II & III, Drugs & Cosmetics Rules 1945 (G.S.R.227(E)/2023) ¦ Powered by schedulem.in
▌ MINISTRY OF HEALTH & FAMILY WELFARE, GOVT. OF INDIA ¦ CDSCO / State Licensing Authority ¦ Engineering & Technical Services Department
Manufacturing Licence No.: |  |  |  | Site / Plant Name: |  |  |  | COMPLIANCE SCORE
Firm Name & Address: |  |  |  | Audit / Inspection Date: |  | 08-Mar-2026 |  | 0 / 65
State Licensing Authority: |  |  |  | Engineering Head / Auditor: |  |  |  | ✓ 0
Schedule M Reference: |  | Parts II & III, G.S.R. 227(E) dated 28 Mar 2023 |  | Document No.: |  | QA-CHK-ENG-001 Rev.01 |  | ✗ 0
# | Clause Ref. | Checklist Item / Requirement (Schedule M Parts II & III) | Guidance Note / Verification Method | Compliance Status | Evidence / Reference Record | Observations & Findings | Corrective Action Required | Responsible / Due Date
P-II/III — FACILITIES & CIVIL INFRASTRUCTURE [Schedule M Part II & III ¦ Building Design, Construction & Maintenance Requirements]
1 | FC.1 | A current, approved Site Master File (SMF) or equivalent facility document describes the site layout, building classification, area designations, and product types manufactured; it is reviewed and updated at least every 3 years or after major change. | SMF document; review date; last revision history; QA approval signature. | Not Checked
2 | FC.2 | Building construction materials (walls, floors, ceilings, coving) are specified, appropriate for the area classification, chemically resistant where required, and maintained in good condition; specification records are available. | Building specification sheet; material finishes schedule; visual inspection of all production and support areas. | Not Checked
3 | FC.3 | Coved junctions (floor-to-wall and wall-to-ceiling) are present in all classified manufacturing and filling areas; no open joints, cracks, or delamination observed. | Visual inspection; photographic records from last facility audit; maintenance job cards for repairs. | Not Checked
4 | FC.4 | Doors and windows in classified areas are sealed, flush-fitting, and free from gaps; doors open in the direction of higher pressure; self-closing mechanisms are functional. | Physical inspection; door gap measurement (≤ 1 mm); self-closer functionality check; gasket condition. | Not Checked
5 | FC.5 | Pass-through hatches / airlocks between areas of different cleanliness grades are interlocked so both doors cannot be open simultaneously; interlock function is verified periodically and records maintained. | Interlock test record; test frequency defined in SOP; last test date within schedule. | Not Checked
6 | FC.6 | Drains in classified manufacturing areas are stainless steel, trapped, cleanable, and fitted with removable covers; drain design prevents backflow and contamination; drain cleaning is scheduled and recorded. | Drain specification; drain cleaning log; backflow prevention device present and functional. | Not Checked
7 | FC.7 | A preventive maintenance programme for building fabric (roof, walls, floors, windows, doors, ceilings) is in place; defects are reported via a formal work order system; structural and cosmetic defects are prioritised and tracked to closure. | Building PM schedule; work order log; open defect register with age and priority; closure rate KPI. | Not Checked
8 | FC.8 | Engineering workshop and maintenance areas are physically separated from manufacturing zones; tools, lubricants, and spare parts are stored in the workshop and do not enter production unsupervised; a permit-to-work / tool control system is in operation. | Physical separation confirmed; permit-to-work SOP; tool register; no loose tools observed in production. | Not Checked
9 | FC.9 | Lighting fixtures in classified areas are flush-mounted, sealed, and shielded against breakage; lux levels meet specified requirements (min. 300 lux general production; 500 lux inspection; 750 lux filling/aseptic); periodic lux measurements are recorded. | Lighting specification; lux meter measurement records (≤ 12 months); fixture maintenance log. | Not Checked
10 | FC.10 | The facility has a documented fire safety system (detection, alarm, suppression, extinguishers, emergency exits, evacuation plan); systems are inspected and tested per applicable regulations; all personnel are trained in fire evacuation. | Fire safety inspection certificate; extinguisher service tags; evacuation drill records (≤ 12 months). | Not Checked
HVAC — HVAC SYSTEM — DESIGN, QUALIFICATION & OPERATION [Schedule M Part II & III ¦ WHO TRS 961 Annex 2 ¦ EU GMP Annex 1 ¦ ISPE HVAC Guide]
11 | HVAC.1 | HVAC system design documentation (design drawings, air balance calculations, AHU schedules, duct layout drawings) is current, approved, and retained; as-built drawings reflect actual installation. | P&ID / HVAC drawings; as-built vs. design comparison; last drawing revision date. | Not Checked
12 | HVAC.2 | Each manufacturing area has a defined air classification (Schedule M / ISO 14644 / EU GMP Grade) appropriate to the product and process; classification is documented and approved by QA and Engineering. | Area classification matrix; cross-reference to marketing authorisation and product risk assessment. | Not Checked
13 | HVAC.3 | HVAC qualification (IQ/OQ/PQ) has been completed for all classified areas and AHUs; qualification documents are complete, approved, and available; re-qualification is triggered by changes or periodic schedule. | HVAC IQ/OQ/PQ dossiers; approval signatures; re-qualification plan and history. | Not Checked
14 | HVAC.4 | Air change rates (ACH) meet the requirements for each area classification (e.g., ≥ 20 ACH for Grade C/D; ≥ 60 ACH unidirectional airflow for Grade A/B); actual ACH measurements are on file and within specification. | Commissioning/qualification ACH measurement data; last periodic verification date; acceptance criteria defined. | Not Checked
15 | HVAC.5 | HEPA filters are installed, graded, and integrity tested (DOP/PAO or equivalent) at commissioning, after replacement, and at defined periodic intervals (≤ 6 months for Grade A/B; ≤ 12 months for Grade C/D); scan and penetration results are within limits. | HEPA filter integrity test reports; filter replacement log; scan certificate with penetration ≤ 0.01% for Grade A/B. | Not Checked
16 | HVAC.6 | Pre-filters and intermediate filters (G4, F7, F9) are inspected and replaced on a documented schedule; filter replacement records show filter grade, AHU ID, date, and technician; used filters are disposed of safely. | Filter replacement schedule; replacement records for last 12 months; disposal records. | Not Checked
17 | HVAC.7 | Room pressure differentials between adjacent areas are defined, maintained, and continuously monitored; pressure cascades flow from higher to lower cleanliness grade; alarm set-points are defined and tested. | Pressure cascade diagram; BMS monitoring data (last 3 months); alarm test records; alert ≥ +5 Pa between grades. | Not Checked
18 | HVAC.8 | Temperature and relative humidity are controlled and continuously monitored in all classified and controlled storage areas; alert and action limits are defined; excursion investigations are completed and documented. | BMS trend data (last 3 months); T/RH specification per area; excursion log and investigation records. | Not Checked
19 | HVAC.9 | Airflow visualisation (smoke studies / airflow pattern tests) have been performed for Grade A/B areas and critical unidirectional flow zones; studies demonstrate no turbulence at critical points; records include video evidence. | Smoke study protocol and report; video recording retained; periodic re-study schedule defined. | Not Checked
20 | HVAC.10 | HVAC systems serving areas used for manufacture of sensitising, cytotoxic, hormonal, or biological products are dedicated, non-recirculating (100% exhaust), and fitted with bag-in/bag-out HEPA housings; cross-contamination risk is formally assessed. | Dedicated AHU list; 100% exhaust verification; bag-in/bag-out housing inspection records. | Not Checked
21 | HVAC.11 | BMS (Building Management System) or equivalent monitoring system is validated (CSV); access control and audit trail are enabled; alarms are acknowledged and documented; BMS is backed up regularly. | BMS CSV documentation; audit trail demonstration; alarm management SOP; backup schedule. | Not Checked
22 | HVAC.12 | HVAC maintenance (AHU fan belts, bearings, coils, dampers, humidifiers, cooling towers) is performed per a preventive maintenance schedule; PM records show task, date, findings, and technician; PM compliance ≥ 95%. | HVAC PM schedule; PM completion records; PM compliance KPI for last 6 months. | Not Checked
UTIL — CRITICAL UTILITIES — WATER, STEAM, GASES & ELECTRICAL [Schedule M Part II & III ¦ IP 2022 ¦ WHO TRS 970 Annex 2 ¦ Purified Water & WFI Systems]
23 | UTIL.1 | Purified Water (PW) and Water for Injection (WFI) systems are designed, qualified (IQ/OQ/PQ), and operated in accordance with Schedule M and pharmacopoeial (IP/BP/USP) requirements; qualification documents are approved and available. | PW/WFI system qualification dossiers; P&ID; design basis documentation; approval signatures. | Not Checked
24 | UTIL.2 | PW/WFI distribution systems are constructed of pharmaceutical-grade stainless steel (316L) or PVDF; all joints are orbital-welded or sanitary-type; no dead-legs greater than 6:1 (D:d) are present; documentation confirms dead-leg audit. | P&ID with dead-leg analysis; weld log; material certificates (316L, surface finish Ra ≤ 0.8 µm); dead-leg elimination records. | Not Checked
25 | UTIL.3 | PW/WFI systems are operated hot (≥ 70°C recirculation) or under validated sanitisation/passivation cycle; system is continuously circulating (no stagnation); sanitisation records are maintained. | Recirculation temperature monitoring data; sanitisation/passivation SOP and records; last validation report. | Not Checked
26 | UTIL.4 | PW/WFI water quality (conductivity, TOC, endotoxin for WFI, microbial count, pH) is monitored at all use points and in the distribution loop per an approved monitoring programme; results are trended and reviewed. | Water monitoring schedule; last 3-month test results; trend analysis; OOL investigation records. | Not Checked
27 | UTIL.5 | Clean steam (used for sterilisation, humidification in classified areas) is generated from Purified Water or WFI; steam quality parameters (dryness, superheat, non-condensable gases) are within specification; steam quality testing is performed periodically. | Clean steam generator qualification; steam quality test reports; test frequency defined. | Not Checked
28 | UTIL.6 | Compressed air and nitrogen used in manufacturing (product contact, purging, packaging) are oil-free, filtered (≤ 0.01 µm final filter), and monitored for oil content, moisture (dew point), particulates, and microbial quality; specifications and test records are current. | Compressed air specification; filter integrity records; periodic gas quality test results (oil, moisture, microbial). | Not Checked
29 | UTIL.7 | Electrical systems (distribution boards, UPS, emergency generator) are maintained per documented schedule; critical systems (cleanrooms, cold rooms, BMS, fire alarm) have uninterrupted power backup; generator load test is performed periodically. | Electrical maintenance records; UPS and generator test records (≤ 12 months); critical system power matrix. | Not Checked
30 | UTIL.8 | Effluent treatment and waste water disposal systems are in place and compliant with applicable regulatory requirements (CPCB/SPCB); inactivation of microbiological waste is validated where required. | ETP compliance certificate; CPCB/SPCB consent records; inactivation validation for biological waste. | Not Checked
PM — PREVENTIVE MAINTENANCE PROGRAMME [Schedule M Part III ¦ Equipment Maintenance ¦ GMP Requirement for Production & QC Equipment]
31 | PM.1 | A formal, documented Preventive Maintenance (PM) programme is in place covering all GMP-critical equipment (production, laboratory, utility, facility); PM tasks, frequencies, and acceptance criteria are defined for each item. | PM programme master document; equipment list with PM frequencies; approval by Engineering and QA. | Not Checked
32 | PM.2 | PM activities are tracked in a CMMS (Computerised Maintenance Management System) or equivalent; PM schedule adherence is monitored; PM compliance rate is reported monthly and is ≥ 95% for critical equipment. | CMMS or PM tracker; monthly PM compliance report; critical equipment list defined; last 6 months compliance data. | Not Checked
33 | PM.3 | PM records are completed at the time of work; records include: equipment ID, PM task performed, date, findings, parts replaced, post-PM functional check result, and technician/supervisor sign-off. | Sample PM records (5+) reviewed for completeness; no retrospective completion; supervisor countersign present. | Not Checked
34 | PM.4 | Equipment requiring breakdown maintenance (corrective maintenance) is tagged 'OUT OF SERVICE', removed from production use, and a work order is raised; production is notified and batch records note any equipment downtime. | OOS tagging SOP; work order system; production notification procedure; batch record entries reviewed. | Not Checked
35 | PM.5 | After major maintenance or repair, equipment is cleaned, inspected, and requalified or performance-verified before return to GMP use; QA approval is obtained before resuming production. | Post-maintenance qualification / performance check SOP; QA approval record; sample of recent post-maintenance releases. | Not Checked
36 | PM.6 | Spare parts used in GMP equipment (seals, gaskets, O-rings, filters, lubricants) are from approved suppliers, stored appropriately, labelled, and meet the original equipment specification; unapproved substitutions are prohibited. | Approved spare parts list; supplier qualification records; spare parts storage area inspection; change control for specification changes. | Not Checked
37 | PM.7 | Lubricants used on product-contact or near-product surfaces are food-grade (NSF H1 or equivalent) or pharma-grade; an approved lubricants list is maintained by QA/Engineering; non-approved lubricants are not present in the facility. | Approved lubricants list signed by QA; NSF H1 certificates; inspection confirms only approved lubricants in use. | Not Checked
38 | PM.8 | Maintenance personnel working in GMP areas are trained in GMP requirements, contamination prevention, gowning, hygiene, and permit-to-work procedures before entry; training records are maintained. | Maintenance GMP training records; gowning compliance for maintenance staff; permit-to-work training certificate. | Not Checked
CAL — CALIBRATION PROGRAMME — INSTRUMENTS & MEASURING DEVICES [Schedule M Part III ¦ NABL-Traceable Calibration ¦ ISO 10012 ¦ 21 CFR 211.68]
39 | CAL.1 | A master calibration schedule covers all measuring and monitoring instruments critical to product quality and process control (temperature, pressure, flow, humidity, weight, pH, conductivity, level); schedule is reviewed annually and approved by QA. | Master calibration schedule; instrument list; review date; QA approval signature. | Not Checked
40 | CAL.2 | All calibrations are traceable to national standards (NABL-accredited laboratory or NPL-traceable reference standards); calibration certificates state the traceability chain; traceability is unbroken. | Calibration certificates with NABL accreditation number; NPL traceability statement; chain of traceability documented. | Not Checked
41 | CAL.3 | Calibration labels are affixed to all instruments showing: instrument ID, last calibration date, next due date, and calibration status; instruments with expired calibration are immediately removed from service. | Visual inspection of ≥ 20 instruments; label compliance; no expired calibration labels observed in GMP areas. | Not Checked
42 | CAL.4 | Temperature monitoring devices (data loggers, thermocouples, RTDs, probes) in cold rooms, stability chambers, autoclaves, and ovens are calibrated at the required frequency; multi-point calibration is performed where specified. | Calibration records for temperature devices; multi-point calibration data; acceptance criteria (±0.5°C or per spec). | Not Checked
43 | CAL.5 | Pressure gauges and pressure transmitters used to monitor HVAC differentials, autoclave cycles, and process vessels are calibrated; deadweight tester or certified reference gauge is used; calibration records are available. | Pressure gauge calibration records; reference standard certificate; acceptance criteria defined. | Not Checked
44 | CAL.6 | Flow meters used for utility systems (PW/WFI, compressed air, process gases) are calibrated at defined intervals; calibration method is documented and appropriate for the measurement range. | Flow meter calibration records; calibration method (in-situ or bench); acceptance criteria defined. | Not Checked
45 | CAL.7 | Out-of-calibration events are documented; an impact assessment is performed covering all batches and processes affected since the last valid calibration; QA reviews and approves the assessment; CAPA is raised where required. | OOC procedure; last 3 OOC events reviewed for impact assessment; QA sign-off; CAPA evidence. | Not Checked
46 | CAL.8 | Reference standards and calibrated reference instruments used for in-house calibration are themselves calibrated against NABL-accredited or NPL references; storage conditions and handling of reference standards are controlled. | Reference standards register; calibration certificates; storage condition compliance; access control. | Not Checked
EQ — EQUIPMENT QUALIFICATION & VALIDATION SUPPORT [Schedule M Part III ¦ IQ / OQ / PQ ¦ Validation Master Plan ¦ ICH Q9 Risk Assessment]
47 | EQ.1 | A Validation Master Plan (VMP) or Site Validation Plan is in place; it describes the validation philosophy, scope, responsibilities, deliverables, and schedule for all GMP-critical systems and processes; it is reviewed annually. | VMP document; last review date; QA approval; validation status matrix (completed vs. pending). | Not Checked
48 | EQ.2 | Equipment qualification follows a risk-based approach (DQ → IQ → OQ → PQ as applicable); qualification protocols are approved before execution; qualification reports are approved by QA and Engineering before release to production. | Qualification lifecycle SOP; sample protocol and report; dual approval (Engineering + QA) confirmed. | Not Checked
49 | EQ.3 | Design Qualification (DQ) documents confirm that equipment design meets GMP and user requirements; URS (User Requirement Specification) is prepared for all new critical equipment and reviewed by QA. | URS template; completed URS for last 3 equipment purchases; DQ checklist or supplier qualification. | Not Checked
50 | EQ.4 | Installation Qualification (IQ) verifies that equipment is installed correctly per manufacturer specifications and engineering drawings; IQ confirms instrument tags, material of construction, utilities, and safety devices. | IQ protocol and report; material certificates; P&ID red-line check; utility connection verification. | Not Checked
51 | EQ.5 | Operational Qualification (OQ) challenges equipment over the full operating range; acceptance criteria are pre-defined and justified; all OQ tests pass before PQ commences. | OQ protocol with pre-defined acceptance criteria; OQ test results; deviation handling during OQ. | Not Checked
52 | EQ.6 | Performance Qualification (PQ) demonstrates consistent performance under actual process conditions; minimum 3 consecutive runs (or risk-justified number) meet acceptance criteria; QA approves PQ report before production release. | PQ protocol (3-run or justified); PQ results; QA approval before production commencement. | Not Checked
53 | EQ.7 | Requalification is triggered by: significant changes (modification, relocation, major repair), performance failures, periodic schedule (defined in VMP), or regulatory requirement; change control is always followed. | Requalification trigger criteria in SOP; change control procedure; recent examples verified. | Not Checked
54 | EQ.8 | Computer systems and PLC/SCADA/BMS software controlling GMP processes are validated per GAMP5 principles; software category is assigned; access control, audit trail, data integrity, and backup are implemented. | GAMP5 validation documentation; software category assignment; audit trail enabled; backup and restore test. | Not Checked
CC — ENGINEERING CHANGE CONTROL & DEVIATION MANAGEMENT [Schedule M Part III ¦ Change Control ¦ ICH Q10 Pharmaceutical Quality System]
55 | CC.1 | A formal change control procedure governs all engineering changes (equipment, utilities, facility, automation, calibration frequency, PM schedule); changes are classified by impact (minor/major/critical) and routed for appropriate review and approval. | Change control SOP; change classification matrix; QA involvement for major/critical changes; last 5 CCRs reviewed. | Not Checked
56 | CC.2 | Impact assessments for engineering changes evaluate effects on: product quality, process validation, equipment qualification, calibration, cleaning validation, regulatory filings, SOPs, and training. | Impact assessment template in change control SOP; completed impact assessments for last 3 changes. | Not Checked
57 | CC.3 | Temporary changes (deviations from standard engineering conditions: emergency repairs, bypasses, temporary utilities) are documented, approved by QA, time-limited, and closed out with full restoration and re-qualification where required. | Temporary change / planned deviation procedure; register of open temporary changes; QA approval records. | Not Checked
58 | CC.4 | Engineering deviations (unplanned equipment failures, utility excursions, HVAC alarms) are documented, investigated, root-caused, and CAPAs are raised; potential impact on in-process or completed batches is assessed. | Engineering deviation log; last 6 months deviations reviewed; batch impact assessments; CAPA completion rate. | Not Checked
59 | CC.5 | Post-change effectiveness reviews are conducted to confirm that engineering changes achieved the intended outcome without adverse effects; effectiveness review records are approved by QA. | Effectiveness review requirement in change control SOP; evidence of effectiveness checks for last 3 closed changes. | Not Checked
EHS — ENGINEERING SAFETY, ENVIRONMENT & REGULATORY COMPLIANCE [Schedule M Part II & III ¦ Factories Act 1948 ¦ CPCB/SPCB ¦ PESO ¦ NBC 2016]
60 | EHS.1 | Pressure vessels, boilers, autoclaves, and compressed gas cylinders are inspected and certified by a statutory authority (Boiler Inspector / Factories Inspector) per the Factories Act / Pressure Vessels Rules; certificates are current and displayed. | Boiler/pressure vessel certificates; last inspection date; next due date; Factories Act compliance register. | Not Checked
61 | EHS.2 | Electrical installations are tested per IS:3043 / IE Rules; earth leakage circuit breakers (ELCBs/RCCBs) and isolation switches are installed in all production, laboratory, and utility areas; periodic electrical safety audits are conducted. | Electrical safety audit report (≤ 12 months); ELCB test records; electrical inspector certificate. | Not Checked
62 | EHS.3 | Flammable solvent storage and handling areas are ATEX/IS:5572 compliant (explosion-proof fixtures, anti-static flooring, bonding/earthing); hot-work permit system is in operation; solvent quantities in production areas are controlled. | Flammable area classification drawing; equipment ATEX certification; hot-work permit register; bonding/earthing inspection. | Not Checked
63 | EHS.4 | Hazardous energy control (Lockout/Tagout — LOTO) procedure is implemented; personnel working on energised equipment are trained; LOTO equipment (locks, tags, hasps) is available; LOTO audits are conducted periodically. | LOTO SOP; LOTO training records; LOTO equipment inspection; LOTO audit records (≤ 12 months). | Not Checked
64 | EHS.5 | Environmental compliance for emissions (air, water, noise) is maintained; Consent to Operate from CPCB/SPCB is current; ETP performance is monitored and reported; no regulatory notices or violations outstanding. | Consent to Operate certificate; last ETP performance report; regulatory correspondence file. | Not Checked
65 | EHS.6 | Engineering KPIs (equipment availability, PM compliance, utility uptime, HVAC excursion count, calibration overdue count, open CAPA count) are tracked monthly and reviewed at a formal Engineering/QA review meeting. | Engineering KPI dashboard; last 3 monthly review meeting minutes; trend analysis; management escalation records. | Not Checked
Engineering Head Signature: _____________________________ Date: __________ |  |  |  |  | Head QA Signature: _____________________________ Date: __________
QA-CHK-ENG-001 ¦ Rev: 01 ¦ 08-Mar-2026 ¦ Schedule M Parts II & III, Drugs & Cosmetics Rules 1945, G.S.R.227(E)/2023 ¦ © schedulem.in ¦ CONFIDENTIAL

## Audit Summary
SCHEDULE M ENGINEERING AUDIT — SUMMARY DASHBOARD
Facilities · HVAC · Utilities · Preventive Maintenance · Calibration · Qualification · Change Control · EHS ¦ © schedulem.in
▌ Auto-calculated from Engineering Checklist tab ¦ Schedule M Parts II & III (G.S.R.227(E)/2023)
| TOTAL ITEMS | COMPLIANT | NON-COMPLIANT | PARTIAL | NOT CHECKED
| 65 | 0 | 0 | 0 | 65
| items | items | items | items | items
OVERALL SCHEDULE M ENGINEERING COMPLIANCE RATE
0%
| Section | Total | Compliant | Non-Compliant | Partial | Score %
| Facilities & Civil Infrastructure | 10 | 0 | 0 | 0 | 0%
| HVAC — Design, Qualification & Operation | 12 | 0 | 0 | 0 | 0%
| Critical Utilities | 8 | 0 | 0 | 0 | 0%
| Preventive Maintenance Programme | 8 | 0 | 0 | 0 | 0%
| Calibration Programme | 8 | 0 | 0 | 0 | 0%
| Equipment Qualification & Validation | 8 | 0 | 0 | 0 | 0%
| Engineering Change Control | 5 | 0 | 0 | 0 | 0%
| Safety, Environment & Compliance | 6 | 0 | 0 | 0 | 0%
STATUS LEGEND
| ✓ Compliant | Fully meets Schedule M Parts II & III requirement; evidence on file.
| ✗ Non-Compliant | Requirement not met; corrective action mandatory before next inspection.
| ~ Partial | Partially meets requirement; improvement required within agreed timeframe.
| N/A | Not applicable to this facility type, product, or engineering scope.
| Not Checked | Item not yet reviewed during this audit cycle.
QA-CHK-ENG-001 Rev 01 ¦ 08-Mar-2026 ¦ Schedule M Parts II & III, Drugs & Cosmetics Rules 1945 ¦ © schedulem.in ¦ CONFIDENTIAL